## en
dbid | uri | index | note | updated
1 | second2018 | 1 | This definition implies the exact relation @hfcx@. Inverting this relation gives an expression for the unit second in terms of the defining constant @hfcs@: \[@secd@\] | 2023-02-21 15:59
2 | second2018 | 2 | The effect of this definition is that the second is equal to the duration of @hfcv@ periods of the radiation corresponding to the transition between the two hyperfine levels of the unperturbed ground state of the @csis@ atom. | 2023-02-21 15:59
3 | second2018 | 3 | The reference to an unperturbed atom is intended to make it clear that the definition of the SI second is based on an isolated caesium atom that is unperturbed by any external field, such as ambient black-body radiation. | 2023-02-21 15:59
4 | second2018 | 4 | The second, so defined, is the unit of proper time in the sense of the general theory of relativity. To allow the provision of a coordinated time scale, the signals of different primary clocks in different locations are combined, which have to be corrected for relativistic caesium frequency shifts (see section 2.3.6). | 2023-02-21 15:59
5 | second2018 | 5 | The CIPM has adopted various secondary representations of the second, based on a selected number of spectral lines of atoms, ions or molecules. The unperturbed frequencies of these lines can be determined with a relative uncertainty not lower than that of the realization of the second based on the @csis@ hyperfine transition frequency, but some can be reproduced with superior stability. | 2023-02-21 15:59
6 | metre2018 | 1 | This definition implies the exact relation @solx@. Inverting this relation gives an exact expression for the metre in terms of the defining constants @sols@ and @hfcs@: \[@mtrd@\] | 2023-06-27 08:04
7 | metre2018 | 2 | The effect of this definition is that one metre is the length of the path travelled by light in vacuum during a time interval with duration of @soli@ of a second. | 2023-06-27 08:46
8 | kilogram2018 | 1 | This definition implies the exact relation @plkx@. Inverting this relation gives an exact expression for the kilogram in terms of the three defining constants @plks@, @hfcs@ and @sols@: \[@kgmd@\] which is equal to \[@kgod@\]. | 2023-06-28 03:22
9 | kilogram2018 | 2 | The effect of this definition is to define the unit @pksi@ (the unit of both the physical quantities action and angular momentum). Together with the definitions of the second and the metre this leads to a definition of the unit of mass expressed in terms of the Planck constant @plks@. | 2023-06-28 03:42
10 | kilogram2018 | 4 | The number chosen for the numerical value of the Planck constant in this definition is such that at the time of its adoption, the kilogram was equal to the mass of the international prototype, @kpms@, with a relative standard uncertainty of @plke@, which was the standard uncertainty of the combined best estimates of the value of the Planck constant at that time. | 2023-06-28 03:55
11 | kilogram2018 | 5 | Note that with the present definition, primary realizations can be established, in principle, at any point in the mass scale. | 2023-02-21 15:59
12 | kilogram2018 | 3 | The previous definition of the kilogram fixed the value of the mass of the international prototype of the kilogram, @kgmp@, to be equal to one kilogram exactly and the value of the Planck constant @plks@ had to be determined by experiment. The present definition fixes the numerical value of @plks@ exactly and the mass of the prototype has now to be determined by experiment. | 2023-06-28 03:49
13 | ampere2018 | 1 | This definition implies the exact relation @elmd@. Inverting this relation gives an exact expression for the unit ampere in terms of the defining constants @elms@ and @hfcs@: \[@ampd@\] which is equal to \[@ampa@\]. | 2023-02-21 15:59
14 | ampere2018 | 2 | The effect of this definition is that one ampere is the electric current corresponding to the flow of @elmi@ elementary charges per second. | 2023-02-21 15:59
15 | ampere2018 | 3 | The previous definition of the ampere was based on the force between two current carrying conductors and had the effect of fixing the value of the vacuum magnetic permeability @vmps@ (also known as the magnetic constant) to be exactly @vmpe@, where @hens@ and @news@ denote the coherent derived units henry and newton, respectively. The new definition of the ampere fixes the value of @elms@ instead of @vmps@. As a result, @vmps@ must be determined experimentally. | 2023-02-21 15:59
16 | ampere2018 | 4 | It also follows that since the vacuum electric permittivity @veps@ (also known as the electric constant), the characteristic impedance of vacuum @vcis@, and the admittance of vacuum @vads@ are equal to @vepd@, @vcid@, and @vadd@, the values of @veps@, @vcis@ and @vads@ must now also be determined experimentally, and are affected by the same relative standard uncertainty as @vmps@ since @elms@ is exactly known. The product @vemp@ and quotient @vcmq@ remain exact. At the time of adopting the present definition of the ampere, @vmps@ was equal to @vmvu@ with a relative uncertainty of @vmpu@. | 2023-02-21 15:59
17 | kelvin2018 | 1 | This definition implies the exact relation @bolx@. Inverting this relation gives an exact expression for the kelvin in terms of the defining constants @bols@, @plks@ and @hfcs@: \[@tmpd@\] which is equal to \[@tmpa@\]. | 2023-02-21 15:59
18 | kelvin2018 | 2 | The effect of this definition is that one kelvin is equal to the change of thermodynamic temperature that results in a change of thermal energy @ebts@ by @ebtv@. | 2023-02-21 15:59
19 | kelvin2018 | 3 | The previous definition of the kelvin set the temperature of the triple point of water, @wtps@, to be exactly @wtvu@. Due to the fact that the present definition of the kelvin fixes the numerical value of @bols@ instead of @wtps@, the latter must now be determined experimentally. At the time of adopting the present definition @wtps@ was equal to @wtvu@ with a relative standard uncertainty of @wtpu@ based on measurements of @bols@ made prior to the redefinition. | 2023-02-21 15:59
20 | kelvin2018 | 4 | As a result of the way temperature scales used to be defined, it remains common practice to express a thermodynamic temperature, symbol @cels@, in terms of its difference from the reference temperature @fpwd@, close to the ice point. This difference is called the Celsius temperature, symbol @cels@ which is defined by the quantity equation \[@celd@\]. | 2023-02-21 15:59
21 | kelvin2018 | 5 | The unit of Celsius temperature is the degree Celsius, symbol @ceus@, which is by definition equal in magnitude to the unit kelvin. A difference or interval of temperature may be expressed in kelvin or in degrees Celsius, the numerical value of the temperature difference being the same in either case. However, the numerical value of a Celsius temperature expressed in degrees Celsius is related to the numerical value of the thermodynamic temperature expressed in kelvin by the relation \[@c2kd@\] (see 5.4.1 for an explanation of the notation used here). | 2023-02-21 15:59
22 | kelvin2018 | 6 | The kelvin and the degree Celsius are also units of the International Temperature Scale of 1990 (ITS-90) adopted by the CIPM in 1989 in Recommendation 5 (CI-1989, PV, <strong>57</strong>, 115). Note that the ITS-90 defines two quantities @90ks@ and @90cs@ which are close approximations to the corresponding thermodynamic temperatures @tmps@ and @cels@. | 2023-02-21 15:59
23 | kelvin2018 | 7 | Note that with the present definition, primary realizations of the Kelvin can, in principle, be established at any point of the temperature scale. | 2023-02-21 15:59
24 | mole2018 | 1 | This definition implies the exact relation @avox@. Inverting this relation gives an exact expression for the mole in terms of the defining constant @avos@: \[@mold@\]. | 2023-02-21 15:59
25 | mole2018 | 2 | The effect of this definition is that the mole is the amount of substance of a system that contains @avov@ specified elementary entities. | 2023-02-21 15:59
26 | mole2018 | 3 | The previous definition of the mole fixed the value of the molar mass of carbon 12, @mmcs@, to be exactly @mmcv@. According to the present definition @mmcs@ is no longer known exactly and must be determined experimentally. The value chosen for @avos@ is such that at the time of adopting the present definition of the mole, @mmcs@ was equal to @mmcv@ with a relative standard uncertainty of @mmcu@. | 2023-02-21 15:59
27 | mole2018 | 4 | The molar mass of any atom or molecule X may still be obtained from its relative atomic mass from the equation \[@mmxd@\] and the molar mass of any atom or molecule X is also related to the mass of the elementary entity @eces@ by the relation \[@mmed@\]. | 2023-02-21 15:59
28 | mole2018 | 5 | In these equations @mcos@ is the molar mass constant, equal to @mcov@ and @uams@ is the unified atomic mass constant, equal to @uamv@. They are related to the Avogadro constant through the relation \[@mmav@\]. | 2023-02-21 15:59
29 | mole2018 | 6 | In the name "amount of substance", the word "substance" will typically be replaced by words to specify the substance concerned in any particular application, for example "amount of hydrogen chloride", or "amount of benzene". It is important to give a precise definition of the entity involved (as emphasized in the definition of the mole); this should preferably be done by specifying the molecular chemical formula of the material involved. Although the word "amount" has a more general dictionary definition, the abbreviation of the full name "amount of substance" to "amount" may be used for brevity. This also applies to derived quantities such as "amount-of-substance concentration", which may simply be called "amount concentration". In the field of clinical chemistry, the name "amount-of-substance concentration" is generally abbreviated to "substance concentration". | 2023-02-21 15:59
30 | candela2018 | 1 | This definition implies the exact relation @morr@ for monochromatic radiation of frequency @morf@. Inverting this relation gives an exact expression for the candela in terms of the defining constants @mors@, @plks@ and @hfcs@: \[@cand@\] which is equal to \[@cana@\]. | 2023-02-21 15:59
31 | candela2018 | 2 | The effect of this definition is that one candela is the luminous intensity, in a given direction, of a source that emits monochromatic radiation of frequency @movu@ and has a radiant intensity in that direction of @divu@ The definition of the steradian is given below Table 4. | 2023-01-18 17:18
32 | radian | 1 | The radian was formerly an SI supplementary unit, but this category was abolished in 1995. | 2023-01-18 17:31
33 | steradian | 1 | Like the radian, the steradian was formerly an SI supplementary unit. | 2023-01-18 17:31
34 | hertz | 2 | The hertz shall only be used for periodic phenomena. | 2023-01-18 17:29
35 | electricpotential | 1 | Electric potential difference is also called "voltage" in many countries, as well as "electric tension" or simply "tension" in some countries. | 2023-01-18 17:32
36 | celsius | 2 | The numerical value of a temperature difference or temperature interval is the same when expressed in either degrees Celsius or in kelvin. | 2023-01-18 17:33
37 | steradian | 1 | In photometry the name steradian and the symbol sr are usually retained in expressions for units. | 2023-01-18 17:34
38 | becquerel | 2 | The hertz shall only be used for periodic phenomena and the becquerel shall only be used for stochastic processes in activity referred to a radionuclide. | 2023-01-18 17:35
39 | becquerel | 3 | Activity referred to a radionuclide is sometimes incorrectly called radioactivity. | 2023-01-18 17:35
40 | radian per second | 2 | The SI unit of angular velocity and angular frequency is radian per second, whereas the SI unit of frequency is hertz. | 2023-01-18 17:31
41 | radian per second | 3 | It is particularly important to carefully distinguish frequencies from angular frequencies, because by definition their numerical values differ by a factor of 2π. | 2023-01-18 17:31
42 | hertz | 1 | The hertz is the SI coherent derived unit for frequency. | 2023-01-18 17:29
43 | hertz | 3 | The SI unit of angular velocity and angular frequency is radian per second. | 2023-01-18 17:29
44 | hertz | 4 | It is particularly important to carefully distinguish frequencies from angular frequencies, because by definition their numerical values differ by a factor of 2π. | 2023-01-18 17:29
45 | becquerel | 1 | The becquerel is the SI coherent derived unit for activity referred to a radionuclide. | 2023-01-18 17:35
46 | becquerel | 4 | L'unité bequerel implique un comptage par seconde. | 2023-01-18 17:35
47 | celsius | 1 | - | 2023-01-18 17:33
48 | celsius | 3 | The numerical value of a Celsius temperature @cels@ expressed in degrees Celsius is related to the numerical value of the thermodynamic temperature @tmps@ expressed in kelvin by the relation\n@cele@. | 2023-01-18 17:33
49 | ampere | 2 | The elementary charge corresponds to a coupling strength of the electromagnetic force via the fine-structure constant @fscd@, where @veps@ is the vacuum electric permittivity or electric constant. | 2023-02-21 15:59
50 | ampere1948 | 1 | The expression « MKS unit of force » which occurs in the original text has been replaced here by «newton», a name adopted for this unit by the 9th CGPM (1948, Resolution 7). | 2023-07-19 14:56
51 | candela1979
52 | kelvin1967 | 1 | The 13th CGPM (1967, Resolution 3) also decided that the unit kelvin and its symbol $K$ should be used to express an interval or a difference of temperature. | 2023-07-19 14:56
53 | kelvin1967 | 2 | In addition to the thermodynamic temperature (symbol $T$), expressed in kelvins, use is also made of Celsius temperature (symbol $t$) defined by the equation where \rm{T}_0 = 273,15 K by definition. To express celsius temperature, the unit «degree Celsius» which is equal to the unit «kelvin» is used; in this case, «degree Celsius» is a special name used in place of« kelvin». An interval or difference of Celsius temperature can however, be expressed in kelvin as well as in degrees Celsius. | 2023-07-19 14:56
54 | kilogram1901 | 1 | This international prototype, made of platinum-iridium, is kept at the BIPM under conditions specified by the 1st CGPM in 1889. | 2023-07-19 14:56
55 | metre1983 | 1 | The old international prototype of the metre which was sanctioned by the 1st CGPM in 1889 is still kept at the BIPM under the conditions specified in 1889. | 2023-07-19 14:56
56 | metre1960 | 1 | The old international prototype of the metre which was sanctioned by the 1st CGPM in 1889 is still kept at the BIPM under the conditions specified in 1889. | 2023-07-19 14:56
57 | mole1971 | 1 | In the definition of the mole, it is understood that unbound atoms of carbon 12, at rest and in their ground state, are referred to. | 2023-07-19 14:56
58 | mole1971 | 2 | Note that this definition specifies at the same time the nature of the quantity whose unit is the mole. | 2023-07-19 14:56
59 | second1967 | 1 | No notes | 2023-07-19 14:56

## fr
id | unit_id | index | note
1 | second2018 | 1 | Cette définition implique la relation exacte @hfcx@. En inversant cette relation, la seconde est exprimée en fonction de la constante @hfcs@: \[@secd@\]
2 | second2018 | 2 | Il résulte de cette définition que la seconde est égale à la durée de @hfcv@ périodes de la radiation correspondant à la transition entre les deux niveaux hyperfins de l’état fondamental de l’atome de césium 133 non perturbé.
3 | second2018 | 3 | Il est fait référence à un atome non perturbé afin d’indiquer clairement que la définition de la seconde du SI se fonde sur un atome de césium isolé qui n’est pas perturbé par un champ externe quel qu’il soit, tel que la radiation d’un corps noir à température ambiante.
4 | second2018 | 4 | La seconde ainsi définie est l’unité de temps propre, au sens de la théorie générale de la relativité. Pour établir une échelle de temps coordonné, les signaux de différentes horloges primaires dans le monde sont combinés, puis des corrections sont appliquées pour tenir compte du décalage relativiste de fréquence entre les étalons à césium (voir section 2.3.6).
5 | second2018 | 5 | Le CIPM a adopté différentes représentations secondaires de la seconde fondées sur un nombre choisi de raies spectrales d’atomes, ions ou molécules. Les fréquences non perturbées de ces raies peuvent être déterminées avec une incertitude relative qui n’est pas inférieure à celle de la réalisation de la seconde fondée sur la transition hyperfine de l’atome de @csis@ mais certaines peuvent être reproduites avec une meilleure stabilité.
6 | metre2018 | 1 | Cette définition implique la relation exacte @solx@. En inversant cette relation, le mètre est exprimé en fonction des constantes @sols@ et @hfcs@: \[@mtrd@\]
7 | metre2018 | 2 | Il résulte de cette définition que le mètre est la longueur du trajet parcouru dans le vide par la lumière pendant une durée de @soli@ de seconde.
8 | kilogram2018 | 1 | Cette définition implique la relation exacte @plkx@. En inversant cette relation, le kilogramme est exprimé en fonction des trois constantes @plks@, @hfcs@ et @sols@: \[@kgmd@\] relation identique à \[@kgod@\].
9 | kilogram2018 | 2 | Cette définition permet de définir l’unité @pksi@ (l’unité des grandeurs physiques « action » et « moment cinétique »). Ainsi associée aux définitions de la seconde et du mètre, l’unité de masse est exprimée en fonction de la constante de Planck @plks@.
10 | kilogram2018 | 4 | Le nombre choisi pour fixer la valeur numérique de la constante de Planck est tel qu’au moment de l’adoption de cette définition de l’unité de masse, le kilogramme était égal à la masse du prototype international @kpms@ avec une incertitude-type relative égale à @plke@, soit l’incertitude-type de la combinaison des meilleures estimations de la valeur de la constante de Planck à ce moment-là.
11 | kilogram2018 | 5 | Il est à noter que cette définition de l’unité de masse permet d’établir, en principe, des réalisations primaires à tout point de l’échelle de masse.
12 | kilogram2018 | 3 | La précédente définition du kilogramme fixait la valeur de la masse du prototype international du kilogramme, @kgmp@, à exactement un kilogramme ; la valeur de la constante de Planck @plks@ devait donc être déterminée de façon expérimentale. L’actuelle définition du kilogrammme fixe la valeur numérique de @plks@ de façon exacte et la masse du prototype doit désormais être déterminée de façon expérimentale.
13 | ampere2018 | 1 | Cette définition implique la relation exacte @elmd@. En inversant cette relation, l’ampère est exprimé en fonction des constante @elms@ et @hfcs@: \[@ampd@\] relation identique à \[@ampa@\].
14 | ampere2018 | 2 | Il résulte de cette définition qu’un ampère est le courant électrique correspondant au flux de @elmi@ charges élémentaires par seconde.
15 | ampere2018 | 3 | La précédente définition de l’ampère, fondée sur la force produite entre deux conducteurs traversés par du courant, fixait la valeur de la perméabilité magnétique du vide @vmps@ (également connue sous le nom de constante magnétique) à exactement @vmpe@, @hens@ et @news@ représentant les unités dérivées cohérentes « henry » et « newton », respectivement. La nouvelle définition de l’ampère fixe la valeur numérique de @elms@ et non plus celle de @vmps@. Par conséquent, @vmps@ doit désormais être déterminée de façon expérimentale.
16 | ampere2018 | 4 | Ainsi, comme la permittivité diélectrique du vide @veps@ (également connue sous le nom de constante électrique), l’impédance du vide caractéristique @vcis@ et l’admittance du vide @vads@ sont égales à @vepd@, @vcid@, et @vadd@ respectivement, les valeurs de @veps@, @vcis@ et @vads@ doivent désormais être déterminées de façon expérimentale et ont la même incertitude-type relative que @vmps@ puisque la valeur de @elms@ est connue avec exactitude. Le produit @vemp@ et le quotient @vcmq@ restent exacts. Au moment de l’adoption de l’actuelle définition de l’ampère, @vmps@ était égale à @vmvu@ avec une incertitude-type relative de @vmpu@.
17 | kelvin2018 | 1 | Cette définition implique la relation exacte @bolx@. En inversant cette relation, le kelvin est exprimé en fonction des constantes @bols@, @plks@ et @hfcs@: \[@tmpd@\] relation identique à \[@tmpa@\].
18 | kelvin2018 | 2 | Il résulte de cette définition qu’un kelvin est égal au changement de la température thermodynamique résultant d’un changement de l’énergie thermique @ebts@ de @ebtv@.
19 | kelvin2018 | 3 | La précédente définition du kelvin établissait la température du point triple de l’eau @wtps@ comme étant exactement égale à @wtvu@. Étant donné que l’actuelle définition du kelvin fixe la valeur numérique de @bols@ et non plus celle de @wtps@, cette dernière doit désormais être déterminée de façon expérimentale. Au moment de l’adoption de l’actuelle définition du kelvin, @wtps@ était égale à @wtvu@ avec une incertitude-type relative de @wtpu@ déterminée à partir des mesures de @bols@ réalisées avant la redéfinition..
20 | kelvin2018 | 4 | En raison de la manière dont les échelles de température étaient habituellement définies, il est resté d’usage courant d’exprimer la température thermodynamique, symbole @cels@, en fonction de sa différence par rapport à la température de référence @fpwd@ proche du point de congélation de l’eau. Cette différence de température est appelée température Celsius, symbole @cels@ ; elle est définie par l’équation aux grandeurs : \[@celd@\].
21 | kelvin2018 | 5 | L’unité de température Celsius est le degré Celsius, symbole @ceus@, qui par définition est égal en amplitude à l’unité « kelvin ». Une différence ou un intervalle de température peut s’exprimer aussi bien en kelvins qu’en degrés Celsius, la valeur numérique de la différence de température étant la même dans les deux cas. La valeur numérique de la température Celsius exprimée en degrés Celsius est liée à la valeur numérique de la température thermodynamique exprimée en kelvins par la relation : \[@c2kd@\] (voir section 5.4.1 pour une explication de la notation utilisée ici).
22 | kelvin2018 | 6 | Le kelvin et le degré Celsius sont aussi les unités de l’Échelle internationale de température de 1990 (EIT-90) adoptée par le CIPM en 1989 dans sa Recommandation 5 (CI-1989, PV, <strong>57</strong>, 26). Il est à noter que l’EIT-90 définit les deux grandeurs @90ks@ et @90cs@ qui sont de très bonnes approximations des températures thermodynamiques correspondantes @tmps@ et @cels@.
23 | kelvin2018 | 7 | Il est également à noter que l’actuelle définition de l’unité de température thermodynamique permet d’établir, en principe, des réalisations primaires du kelvin à tout point de l’échelle de température.
24 | mole2018 | 1 | Cette définition implique la relation exacte @avox@. En inversant cette relation, on obtient l’expression exacte de la mole en fonction de la constante @avos@: \[@mold@\].
25 | mole2018 | 2 | Il résulte de cette définition que la mole est la quantité de matière d’un système qui contient @avov@ entités élémentaires spécifiées.
26 | mole2018 | 3 | La précédente définition de la mole fixait la valeur de la masse molaire du carbone 12, @mmcs@), comme étant exactement égale à @mmcv@. Selon l’actuelle définition de la mole, @mmcs@ n’est plus connue avec exactitude et doit être déterminée de façon expérimentale. La valeur choisie pour @avos@ est telle qu’au moment de l’adoption de la présente définition de la mole, @mmcs@ était égale à @mmcv@ avec une incertitude-type relative de @mmcu@.
27 | mole2018 | 4 | La masse molaire d’un atome ou d’une molécule X peut toujours être obtenue à partir de sa masse atomique relative à l’aide de l’équation : \[@mmxd@\] et la masse molaire d’un atome ou d’une molécule X est également reliée à la masse d’une entité élémentaire m(X) par la relation : @eces@ by the relation \[@mmed@\]. The molar mass of any atom or molecule X may still be obtained from its relative atomic mass from the equation \[@mmxd@\] and the molar mass of any atom or molecule X is also related to the mass of the elementary entity @eces@ by the relation \[@mmed@\].
28 | mole2018 | 5 | Dans ces équations, @mcos@ est la constante de masse molaire, égale à @mcov@ et @uams@ est la constante de masse atomique unifiée, égale à @uamv@. Elles sont liées à la constante d’Avogadro par la relation : [@mmav@\].
29 | mole2018 | 6 | Dans le terme « quantité de matière », le mot « matière » sera généralement remplacé par d’autres mots précisant la matière en question pour chaque application particulière ; on pourrait par exemple parler de « quantité de chlorure d’hydrogène » ou de « quantité de benzène ». Il est important de définir précisément l’entité en question (comme le souligne la définition de la mole), de préférence en précisant la formule chimique moléculaire du matériau concerné. Bien que le mot « quantité » ait une définition plus générale dans le dictionnaire, cette abréviation du nom complet « quantité de matière » est parfois utilisée par souci de concision. Ceci s’applique aussi aux grandeurs dérivées telles que la concentration de quantité de matière, qui peut simplement être appelée « concentration de quantité ». Dans le domaine de la chimie clinique, le nom « concentration de quantité de matière » est généralement abrégé en « concentration de matière ».
30 | candela2018 | 1 | Cette définition implique la relation exacte @morr@ pour le rayonnement monochromatique de fréquence @morf@. En inversant cette relation, la candela est exprimée en fonction des constantes @mors@, @plks@ et @hfcs@: \[@cand@\] relation identique à \[@cana@\].
31 | candela2018 | 2 | Il résulte de cette définition que la candela est l’intensité lumineuse, dans une direction donnée, d’une source qui émet un rayonnement monochromatique de fréquence @movu@ et dont l’intensité énergétique dans cette direction est @divu@. La définition du stéradian est donnée au bas du tableau 4.
32 | radian | 1 | Le radian était auparavant une unité SI supplémentaire mais cette catégorie a été supprimée en 1995.
33 | steradian | 1 | Comme le radian, le stéradian était auparavant une unité SI supplémentaire.
34 | hertz | 2 | Le hertz ne doit être utilisé que pour les phénomènes périodiques .
35 | electricpotential | 1 | La différence de potentiel électrique est également appelée « tension » ou « tension électrique » dans certains pays.
36 | celsius | 2 | La valeur numérique d’une différence de température ou d’un intervalle de température est identique quand elle est exprimée en degrés Celsius ou en kelvins.
37 | steradian | 1 | En photométrie, on maintient généralement le nom et le symbole du stéradian, sr, dans l’expression des unités.
38 | becquerel | 2 | Le becquerel ne doit être utilisé que pour les processus aléatoires liés à la mesure de l’activité d’un radionucléide.
39 | becquerel | 3 | L’activité d’un radionucléide est parfois appelée de manière incorrecte radioactivité.
51 | radian per second | 2 | L’unité SI de vitesse angulaire et de fréquence angulaire est le radian par seconde.
52 | radian per second | 3 | Il est particulièrement important de distinguer les fréquences des fréquences angulaires car leurs valeurs numériques diffèrent par définition d’un facteur de 2π.
53 | hertz | 1 | L’unité SI de fréquence est le hertz.
54 | hertz | 3 | L’unité SI de vitesse angulaire et de fréquence angulaire est le radian par seconde
55 | hertz | 4 | Il est particulièrement important de distinguer les fréquences des fréquences angulaires car leurs valeurs numériques diffèrent par définition d’un facteur1 de 2π.
56 | becquerel | 1 | L’unité SI d’activité est le becquerel.
57 | becquerel | 4 | L'unité bequerel implique un comptage par seconde.
58 | celsius | 1 | -
59 | celsius | 3 | La valeur numérique de la température Celsius exprimée en degrés Celsius est liée à la valeur numérique de la température thermodynamique exprimée en kelvins par la relation \n@cele@.
70 | ampere | 2 | La charge élémentaire, e, correspond à une constante de couplage de la force électromagnétique via la constante de structure fine @fscd@, où @veps@ est la permittivité diélectrique du vide (également connue sous le nom de constante électrique).
50 | ampere1948 | 1 | L’expression « unité MKS de force » qui figure dans le texte original de 1946 a été remplacée ici par « newton », nom adopté pour cette unité par la 9e CGPM (1948, Résolution 7).
51 | candela1979
52 | kelvin1967 | 1 | La 13ème CGPM (1967 Résolution 3) décida aussi que l'unité kelvin et son symbole K sont utilisés pour exprimer un intervalle ou une différence de température.
53 | kelvin1967 | 2 | En dehors de la température thermodynamique (symbole $T$), exprimée en kelvins, on utilise aussi la température Célsius (symbole $t$) définie par l'équation où \rm{T}_0 = 273,15 K par définition. Pour exprimer la température, on utilise l'unité "degré Célsius" qui est égale à l'unitié "kelvin"; "degré Célsius" est un nom spécial employé dans ce cas au lieu de "kelvin". Un intervalle ou une différence de température Célsius peuvent toutefois s'exprimer aussi bien en kelvins qu'en degrés Célsius.
54 | kilogram1901 | 1 | Ce prototype international en platine iridié est conservé au Bureau International dans des conditions qui ont été fixées par la CGPM en 1889.
55 | metre1983 | 1 | L'ancien prototype international du metre, qui fut sanctionne par la 1re CGPM en 1889, est toujours conserve au Bureau International des Poids et Mesures dans les conditions fixees en 1889.
56 | metre1960 | 1 | L'ancien prototype international du metre, qui fut sanctionne par la 1re CGPM en 1889, est toujours conserve au Bureau International des Poids et Mesures dans les conditions fixees en 1889.
57 | mole1971 | 1 | Dans la defmition de la mole, ii est entendu que !'on se refere ades atomes de carbone 12 non lies, au repos et dans leur etat fondamental.
58 | mole1971 | 2 | Cette définition précise en même temps la nature de la grandeur dont la mole est l'unité.
59 | second1967 | 1 | No notes

## symbols
id | name_en | name_fr | type | code | html | latex | json | text
67 | ITS-90 Celcius symbol |  | symbol | 90cs |  | t_{90}
66 | ITS-90 Kelvin symbol |  | symbol | 90ks |  | T_{90}
116 | Ampere force equivalent value |  | symbol | afev |  | 2 \times 10^{-7}
35 | Ampere alternate equation |  | equation | ampa |  | 1\;@amps@ = \frac{1}{(@hfcv@)(@elmv@)}\,@hfcs@\;@elms@ \approx @icev@ @hfcs@\;@elms@
34 | Ampere definition equation |  | equation | ampd |  | 1\;@amps@ = \left(\frac{@elms@}{@elmv@}\right)\ @seci@
2 | Ampere unit symbol |  | symbol | amps | A | \rm{A} | A | A
3 | Ampere second unit symbol |  | symbol | amss | @amps@ @secs@ | @amps@\ @secs@ | @amps@ @secs@ | @amps@ @secs@
130 | Amount of substance quantity symbol |  | symbol | aoss |  | n
139 | arcminute |  | symbol | arcm |  | ^{\prime}
140 | arcsecond |  | symbol | arcs |  | ^{\prime \prime}
70 | Avogadro constant symbol |  | symbol | avos |  | N_{\rm{A}}
76 | Avogadro constant value |  | symbol | avov |  | 6.022\:140\:76 \times 10^{23}
68 | Avogadro constant exact relation |  | symbol | avox |  | @avos@ = @avov@\ @moli@
| Becquerel unit symbol |  | symbol | becs |  | \rm{Bq}
52 | Boltzmann constant symbol |  | symbol | bols |  | k
111 | Boltzmann constant unit |  | symbol | bolu |  | @kgms@\:@mtrs@^{2}\:@secs@^{-2}
110 | Boltzmann constant value |  | symbol | bolv |  | 1.380\:649 \times 10^{-23}
51 | Boltzmann constant exact relation |  | symbol | bolx |  | @bols@ = @bolv@\ @kmss@
112 | Boltzmann constant / (Planck constant *elemenary charge) value |  | symbol | bpev |  | 2.266\:6653
65 | Celcius to Kelvin definition |  | equation | c2kd |  | @cels@/@ceus@ = @tmps@/@kels@ - @celo@
86 | Candela unit alternate definition |  | equation | cana |  | 1\;@cans@ = \frac{1}{(@plkv@)\:(@hfcv@)^{2}\:@radv@} (@hfcs@)^{2}\:@plks@\:@mors@ \approx 2.614\:830 \times 10^{10} (@hfcs@)^{2}\:@plks@\:@mors@
85 | Candela unit definition |  | equation | cand |  | 1\;@cans@ = \left(\frac{@mors@}{@radv@}\right)\ @cnsi@
97 | Candela unit symbol |  | symbol | cans |  | \rm{cd}
134 | Inverse Celcius to Kelvin offset (French) |  | symbol | cefi |  | 1/@cefo@
133 | Celcius to Kelvin offset (French) |  | symbol | cefo |  | 273,16
63 | Celcius temperature quantity definition |  | equation | celd |  | @cels@ = @tmps@ - @fpws@
91 | Celcius temperature quantity equation |  | equation | cele |  | @cels@/@ceus@ = @tmps@/@kels@ - @celo@
135 | Inverse Celcius to Kelvin offset (English) |  | symbol | celi |  | 1/@celo@
113 | Celcius to Kelvin offset (English) |  | symbol | celo |  | 273.16
62 | Celcius temperature quantity symbol |  | symbol | cels |  | t
64 | Celcius unit symbol |  | symbol | ceus |  | @circ@{C}
137 | Degree |  | symbol | circ |  | ^\circ
| Candela unit in SI symbol |  | symbol | cnsi |  | @kgms@\ @mtrs@^2\ @secs@^{-3}\ @strs@^{-1}
10 | Coulomb unit symbol |  | symbol | cous | <em>C</em> | \rm{C} | &#x1D436; | C
32 | Cesium 133 isotope symbol |  | symbol | csis |  | ^{133}\rm{Cs}
122 | Candela steradian per kilogram inv. meter squared. second cubed unit symbol |  | symbol | csks |  | @cans@\ @strs@\ @kgms@^{-1}\ @mtrs@^{-2}\ @secs@^{3}
120 | Candela steradian per watt unit symbol |  | symbol | csws |  | @cans@\ @strs@\ @wats@^{-1}
88 | Radition direction value/unit |  | symbol | divu |  | @radi@\ @wpss@
129 | 5d5 orbital |  | symbol | dorb |  | 5\rm{d}^{5}
55 | Energy as Boltzmann * temperature symbol |  | symbol | ebts |  | @bols@@tmps@
56 | Energy as Boltzmann * temperature value |  | symbol | ebtv |  | @bolv@\ @jles@
90 | Elementry chemical entity symbol |  | symbol | eces |  | m(\rm{X})
33 | Elementary charge constant exact relation |  | symbol | elmd |  | @elms@ = @elmv@\ @amss@
36 | Inverse elementary charge constant value |  | symbol | elmi |  | 1/(@elmv@)
7 | Elementary charge constant symbol |  | symbol | elms | <em>e</em> | e | &#x1D452; | e
9 | Elementary charge constant value |  | symbol | elmv | 1.602 176 634 x 10<sup>-19</sup> | 1.602\:176\:634 \times 10^{-19} | 1.602 176 634 x 10^-19 | 1.602 176 634 x 10^-19
106 | Entity molar mass symbol |  | symbol | emms |  | M(\rm{X})
| Farad unit symbol |  | symbol | fars |  | \rm{F}
61 | Freezing point of water definition |  | symbol | fpwd |  | @fpws@ = @celo@\ @kels@
107 | Freezing point of water symbol |  | symbol | fpws |  | T_{0}
98 | Frequency symbol |  | symbol | frqs |  | \nu
93 | Fine structure constant definition |  | symbol | fscd |  | @fscs@ = @elms@^{2} (2@sols@@veps@@plks@)
94 | Fine structure constant symbol |  | symbol | fscs |  | \alpha
| Gray unit symbol |  | symbol | grys |  | \rm{Gy}
38 | Henry unit symbol |  | symbol | hens |  | \rm{H}
| Hertz unit symbol |  | symbol | htzs |  | \rm{Hz}
4 | Hyperfine cesium constant symbol |  | symbol | hfcs | Δ<em>ν</em><sub>Cs</sub> | \Delta\nu_{\rm{Cs}} | Δ&#x1D708;Cs | ΔνCs
89 | Hyperfine cesium constant unit |  | symbol | hfcu |  | @htzs@
14 | Hyperfine cesium constant value |  | symbol | hfcv | 9 192 631 770 | 9\:192\:631\:770 | 9 192 631 770 | 9 192 631 770
31 | Hyperfine cesium constant exact relation |  | symbol | hfcx |  | @hfcs@ = @hfcv@\ @hfcu@
15 | Hyperfine cesium/speed of light value |  | symbol | hslv | 30.663 319 | 30.663\:319 | 30.663 319 | 30.663 319
108 | Inverse hyperfine cesium elementary charge value |  | symbol | icev |  | 6.789\:687 \times 10^{8}
21 | Joule unit symbol |  | symbol | jles | J | \rm{J} | J | J
123 | Joule per kelvin unit symbol |  | symbol | jpks |  | @jles@\ @kels@^{-1}
| Katal unit symbol |  | symbol | kats |  | \rm{kat}
60 | Kelvin unit symbol |  | symbol | kels | tmps | \rm{K}
25 | Kilogram unit definition |  | equation | kgmd | 1 @kgms@ = (@plks@/@plkv@) @smsu@ | 1\;@kgms@ = \left(\frac{@plks@}{@plkv@}\right)\ @smsu@ | 1 @kgms@ = (@plks@/@plkv@) @smsu@ | 1 @kgms@ = (@plks@/@plkv@) @smsu@
28 | Kilogram prototype symbol |  | symbol | kgmp | <em>m</em>(&Kscr;) | m(\mathcal{K}) | &#x1D45A;(&#x1D4A6;) | m(𝒦)
16 | Kilogram unit symbol |  | symbol | kgms | kg | \rm{kg} | kg | kg
26 | Kilogram alternate definition |  | equation | kgod | 1 @kgms@ = (@sols@<sup>2</sup>/(@plkv@)(@hfcv@)) (@plks@ @hfcs@)/@solv@<sup>2</sup> ≈ @sphv@ (@plks@ @hfcs@)/@sols@<sup>2</sup> | 1\;@kgms@ = \frac{(@solv@)^{2}}{(@plkv@)(@hfcv@)} \frac{@plks@\,@hfcs@}{@sols@^{2}} \approx @sphv@ \frac{@plks@\,@hfcs@}{@sols@^{2}} | 1 @kgms@ = (@sols@&sup2;/(@plkv@)(@hfcv@))(@plks@@hfcs@)/@sols@&sup2; ≈ @sphv@(@plks@@hfcs@)/@sols@&sup2; | 1 @kgms@ = (@sols@^2;/(@plkv@)(@hfcv@)) (@plks@ @hfcs@)/@solv@^2; ≈ @sphv@ (@plks@ @hfcs@)/@sols@^2;
124 | Kilogram, meter squared, inverse second squared, per kelvin unit symbol |  | symbol | kgss |  | @kgms@\ @mtrs@^{2}\ @secs@^{-2}\ @kels@^{-1}
104 | Kilogram per mole unit symbol |  | symbol | kims |  | \rm{kg/mol}
125 | Kilogram, meter squared, inverse second unit symbol |  | symbol | kmis |  | @kgms@\ @mtrs@^{2}\ @secs@^{-1}
109 | Kilogram meter squared second inv. squared per kelvin unit symbol |  | symbol | kmss |  | @kgms@\ @mtrs@^{2}\ @secs@^{-2}\ @kels@^{-1}
29 | Kilogram prototype definition |  | symbol | kpms | @kgmp@ = 1 @kgms@ | @kgmp@ = 1\ @kgms@ | @kgmp@ = 1 @kgms@ | @kgmp@ = 1 @kgms@
141 | luminous efficacy constant symbol |  | symbol | lecs |  | K_{\rm{cd}}
| luminous efficacy constant value |  | symbol | lecv |  | 683
119 | Lumen per watt unit symbol |  | symbol | lpws |  | @lums@\ @wats@^{-1}
118 | Lumen unit symbol |  | symbol | lums |  | \rm{lm}
| Lux unit symbol |  | symbol | luxs |  | \rm{lx}
74 | Molar mass constant symbol |  | symbol | mcos |  | M_{\rm{u}}
75 | Molar mass constant value |  | symbol | mcov |  | @mmcs@/12
81 | Molar mass via avogadro constant definition |  | equation | mmav |  | @mcos@ = @avos@\,@uams@
71 | Molar mass of carbon symbol |  | symbol | mmcs |  | M(^{12}\rm{C})
73 | Molar mass of carbon uncertainty |  | symbol | mmcu |  | 4.5 \times 10^{-10}
72 | Molar mass of carbon value |  | symbol | mmcv |  | 0.012\ @kims@
80 | Elemenary molar mass definition |  | equation | mmed |  | @emms@ = @avos@\,@eces@ = @avos@\,@rams@\,@uams@
79 | Molar mass of chemical definition |  | equation | mmxd |  | @emms@ = @rams@[@mmcs@/12] = @rams@\,@mcos@
69 | Mole unit definition |  | equation | mold |  | 1\;@mols@ = (\frac{@avov@}{@avos@})
103 | Inverse mole unit symbol |  | symbol | moli |  | @mols@^{-1}
102 | Mole unit symbol |  | symbol | mols |  | \rm{mol}
83 | Mono. radiation 540 THz frequency |  | symbol | morf |  | @frqs@ = @morv@\ @hfcu@
82 | Mono. radiation 540 THz exact relation |  | symbol | morr |  | @mors@ = @radv@\ @radu@
84 | Mono. radiation 540 THz symbol |  | symbol | mors |  | K_{@cans@}
99 | Mono. radiation 540 THz value |  | symbol | morv |  | 540 \times 10^{12}
87 | Mono. radiation 540 THz value/unit |  | symbol | movu |  | @morv@\ @hfcu@
126 | Meter horizontal plane distance value/unit |  | symbol | mpvu |  | 571\ \rm{mm}
12 | Meter unit definition |  | equation | mtrd | 1 @mtrs@ = (@sols@/@solv@) @secs@ = @hfcv@/@solv@ @sols@/@hfcs@ ≈ @hslv@ @sols@/@hfcs@ | 1\;@mtrs@ = (\frac{@sols@}{@solv@})\ @secs@ = \frac{@hfcv@}{@solv@} \frac{@sols@}{@hfcs@} ≈ @hslv@ \frac{@sols@}{@hfcs@} | 1 m = (&#x1D450;/299 792 458) s = 9 192 631 770/299 792 458 &#x1D450;/Δ&#x1D708;Cs ≈ 30.663 319 &#x1D450;/Δ&#x1D708;Cs | 1 m = (c/299 792 458) s = 9 192 631 770/299 792 458 c/ΔνCs ≈ 30.663 319 c/ΔνCs
5 | Meter unit symbol |  | symbol | mtrs | m | \rm{m} | m | m
127 | Meter vacuum wavelengths value |  | symbol | mvwv |  | 1\,650\,763.73
39 | Newton unit symbol |  | symbol | news |  | \rm{N}
138 | Ohm unit symbol |  | symbol | ohms | \Omega | \Omega
| Pascal unit symbol |  | symbol | pass |  | \rm{Pa}
22 | Planck constant in SI unit symbol |  | symbol | pksi | @kgms@ @mtrs@<sup>2</sup> @inss@ | @kgms@\ @mtrs@^{2}\ @seci@ | @kgms@ @mtrs@&sup2; @inss@ | @kgms@ @mtrs@^2 @seci@
30 | Planck constant uncertainty |  | symbol | plke | 1 x 10<sup>-8</sup> | 1 \times 10^{-8} | 1 x 10&#x207B;&#x2078; | 1 x 10^-8
17 | Planck constant symbol |  | symbol | plks | <em>h</em> | h | &planckh; | h
19 | Planck constant unit |  | symbol | plku | @jles@ @secs@ | @jles@\ @secs@ | @jles@ @secs@ | @jles@ @secs@
18 | Planck constant value |  | symbol | plkv | 6.626 070 15 &#215; 10<sup>-34</sup> | 6.626\:070\:15 \times 10^{-34} | 6.626 070 15 x 10&#x207B;&sup3;&#x2074;</sup> | 6.626 070 15 x 10^-34
23 | Planck constant exact relation |  | symbol | plkx | @plks@ = @plkv@ @plku@ | @plks@ = @plkv@\ @kmis@ | @plks@ = @plkv@ @plku@ | @plks@ = @plkv@ @kmis@
128 | 2p10 orbital |  | symbol | porb |  | 2\rm{p}^{10}
95 | Radiation direction inverse value |  | symbol | radi |  | 1/@radv@
101 | Radiation direction unit |  | symbol | radu |  | @cans@\:@strs@\:@kgms@^{-1}\:@mtrs@^{-2}\:@secs@^{3}
100 | Radiation direction value |  | symbol | radv |  | @lecv@
105 | Relative atomic mass symbol |  | symbol | rams |  | A_{\rm{r}}(\rm{X})
115 | Second unit definition |  | equation | secd |  | 1\;@hfcu@ = \frac{@hfcs@}{@hfcv@}\ \rm{or}\ 1\ @secs@ = \frac{@hfcv@}{@hfcs@}
131 | Second fraction value |  | symbol | secf |  | 1/31556925.9747
20 | Inverse second unit symbol |  | symbol | seci | @secs@<sup>-1</sup> | @secs@^{-1} | @secs@&#x207B;&sup1; | @secs@^-1
13 | Second unit symbol |  | symbol | secs | s | \rm{s} | s | s
24 | Per square meter second unit symbol |  | symbol | smsu | @mtrs@<sup>-2</sup> @secs@ | @mtrs@^{-2}\ @secs@ | @mtrs@&#x207B;&sup2; @secs@ | @mtrs@^-2 @secs@
132 | Inverse speed of light value |  | symbol | soli |  | 1/@solv@
| Siemens unit symbol |  | symbol | sies |  | \rm{S}
| Sievert unit symbol |  | symbol | sevs |  | \rm{Sv}
1 | Speed of light constant symbol |  | symbol | sols | <em>c</em> | c | &#x1D450; | c
8 | Speed of light constant unit |  | symbol | solu | @metr@ @inss@ | @mtrs@\ @seci@ | @metr@/@secs@ | @mtrs@/@secs@
6 | Speed of light constant value |  | symbol | solv | 299 792 458 | 299\:792\:458 | 299 792 458 | 299 792 458
11 | Speed of light constant exact relation |  | symbol | solx | @sols@ = @solv@ @solu@ | @sols@ = @solv@\ @solu@ | c = 299 792 458 m s&#x207B;&#xB9 | c = 299 792 458 m s^-1
27 | Speed of light * Planck * hyperfine value |  | symbol | sphv | 1.475 5214 x 10<sup>40</sup> | 1.475\:5214 \times 10^{40} | 1.475 5214 x 10&#x2074;&#x2070; | 1.475 5214 x 10^40
121 | Steradian unit symbol |  | symbol | strs |  | \rm{sr}
54 | Temperature alt quantity definition |  | equation | tmpa |  | 1\;@kels@ = \frac{@bolv@}{(@plkv@)(@hfcv@)}\frac{@hfcs@\;@plks@}{@bols@} \approx @bpev@ \frac{@hfcs@\;@plks@}{@bols@}
53 | Temperature quantity definition |  | equation | tmpd |  | 1\;@kels@ = \left(\frac{@bolv@}{@bols@}\right)\ {@bolu@}
92 | Temperature quantity symbol |  | symbol | tmps |  | T
| Tesla unit symbol |  | symbol | tess |  | \rm{T}
77 | Unified atomic mass constant symbol |  | symbol | uams |  | m_{\rm{u}}
78 | Unified atomic mass constant value |  | symbol | uamv |  | m(^{12}{\rm{C}})/12
46 | Vacuum admittance definition |  | symbol | vadd |  | 1/@vmps@@sols@
43 | Vacuum admittance symbol |  | symbol | vads |  | Y_{0}
45 | Vacuum char. imped. definition |  | symbol | vcid |  | @vmps@@sols@
42 | Vacuum char. imped. symbol |  | symbol | vcis |  | Z_{0}
50 | Vac. char. imped. / Vac. mag. perm. |  | symbol | vcmq |  | @vcis@/@vmps@ = @sols@
49 | Vac. elec. perm. * Vac. mag. perm. |  | symbol | vemp |  | @veps@ @vmps@ = 1/@sols@^{2}
44 | Vacuum elec. perm. definition |  | symbol | vepd |  | 1/@vmps@@sols@^{2}
41 | Vacuum elec. perm. symbol |  | symbol | veps |  | \varepsilon_{0}
40 | Vacuum mag. perm. value/unit |  | symbol | vmpe |  | @vmpv@\ {@hens@\ @mtrs@}^{-1} = @vmpv@\ @news@\ @amps@^{-2}
37 | Vacuum mag. perm. symbol |  | symbol | vmps |  | \mu_{0}
48 | Vacuum mag. perm. uncertainty |  | symbol | vmpu |  | 2.3 \times 10^{-10}
114 | Vacuum mag. perm. value |  | symbol | vmpv |  | 4\pi \times 10^{-7}
47 | Vacuum mag. perm. value/unit |  | symbol | vmvu |  | 4\pi \times 10^{-7}\ @hens@/@mtrs@
| Volt unit symbol |  | symbol | vlts |  | \rm{V}
117 | Watt unit symbol |  | symbol | wats |  | \rm{W}
96 | Watt per steradian symbol |  | symbol | wpss |  | \rm{W sr}^{-1}
| Weber unit symbol |  | symbol | webs |  | \rm{Wb}
57 | Water triple point symbol |  | symbol | wtps |  | T_{\rm{TPW}}
59 | Water triple point uncertainty |  | symbol | wtpu |  | 3.7 \times 10^{-7}
58 | Water triple point value/unit |  | symbol | wtvu |  | @celo@\ @kels@
136 | Zero degree angle |  | symbol | zdeg |  | 0@circ@